Class I Biosafety Cabinet

- Size: 4 × 2 × 2 ft

- Outer Body: 18 SWG MS

- Base: AISI 304 SWG

- HEPA Filter: 48" × 24" × 6"

- Filter Efficiency: 99.99% removal of air particles

- Equipment: Fitted with one UV light with 3 ft UV tube as germicidal.
Tube light for proper lighting in the chamber and blower to inlet for fresh air filtered in the cabinet.